## Sheet1
E-APL # | Specifications | Material Type | Manufacturer | Product Line | Order Code / Part # | Product Name / Description | Notes
8.20.3.5.B.1-0 | SS | Pipe Wrap Tape |  |  |  | Section Header
8.20.3.5.B.1-1 | SS | Pipe Wrap Tape | Minerallac | Cully | 94434 | 2-inch pipe wrap, 10 mil, UPC approved
8.20.3.5.B.1-2 | SS | Pipe Wrap Tape | Electro Tape | 140P Series | 140210E | 2-inch pipe wrap, 10 mil, UPC approved
8.20.3.8.B.0-0 | SS | Fiber-Optic Cable Tags |  |  |  | Section Header
8.20.3.8.B.0-1 | SS | Fiber-Optic Cable Tags | Panduit |  | PST-FO | Self-Laminating label with "CAUTION: FIBER OTPIC CABLE"
8.20.3.8.B.0-2 | SS | Fiber-Optic Cable Tags | ACP International |  | VFOM-175 | Label with "CAUTION: FIBER OPTIC CABLE"; must specify yellow
8.20.3.9.B.0-0 | SS | Ground Rods and Clamps |  |  |  | Section Header
8.20.3.9.B.A-1 | SS | Ground Rod | nVent / Erico |  | 615880 | Ground Rod, Pointed Copperbonded, 5/8" x 8 ft
8.20.3.9.B.A-2 | SS | Ground Rod | nVent / Erico |  | 615800 | Ground Rod, Pointed Copperbonded, 5/8" x 10 ft
8.20.3.9.B.A-3 | SS | Ground Rod | nVent / Erico |  | 611300 | Ground Rod, Pointed Copperbonded, 1/2" x 10 ft
8.20.3.9.B.A-4 | SS | Ground Rod | Wilcor Grounding Systems |  | WA 588C | Ground Rod - Copper Bonded, 5/8" x 8'
8.20.3.9.B.A-5 | SS | Ground Rod | Southern Grounding Products |  | CS110 | Ground Rod - Sectional; 1" x 10'
8.20.3.9.B.B-1 | SS | Ground Clamp - Acorn | Burndy |  | GRC12 | High Strength Ground Rod Clamp - 1/2"
8.20.3.9.B.B-2 | SS | Ground Clamp - Acorn | Burndy |  | GRC34 | High Strength Ground Rod Clamp - 3/4"
8.20.3.9.B.B-3 | SS | Ground Clamp - Acorn | Burndy |  | GRC58 | High Strength Ground Rod Clamp - 5/8"
8.20.3.9.B.B-4 | SS | Ground Clamp - Acorn | Eaton / Crouse-Hinds |  | GRC1 | Ground Clamps, Copper Alloy for Direct Burial, 1/2"
8.20.3.9.B.B-5 | SS | Ground Clamp - Acorn | Eaton / Crouse-Hinds |  | GRC58 | Ground Clamps, Copper Alloy for Direct Burial, 5/8"
8.20.3.9.B.B-6 | SS | Ground Clamp - Acorn | Eaton / Crouse-Hinds |  | GRC2 | Ground Clamps, Copper Alloy for Direct Burial, 3/4"
8.20.3.9.B.B-7 | SS | Ground Clamp - Acorn | Morris |  | 90634 | Ground Rod Clamp, Direct Burial - 1/2"
8.20.3.9.B.B-8 | SS | Ground Clamp - Acorn | Morris |  | 90636 | Ground Rod Clamp, Direct Burial - 5/8"
8.20.3.9.B.B-9 | SS | Ground Clamp - Acorn | Morris |  | 90638 | Ground Rod Clamp, Direct Burial - 3/4"
8.20.3.9.B.B-10 | SS | Ground Clamp - Acorn | Morris |  | 90639 | Ground Rod Clamp, Direct Burial - 3/8" - 3/4"
8.20.3.9.B.B-11 | SS | Ground Clamp - Acorn | nVent / Erico |  | CP34 | Bronze Ground Rod Clamp, Diameter 1/2" - 3/4"
8.20.3.9.B.B-12 | SS | Ground Clamp - Acorn | nVent / Erico |  | CP58 | Bronze Ground Rod Clamp, Diameter 1/2" - 5/8"
8.20.3.9.B.B-13 | SS | Ground Clamp - Acorn | nVent / Erico |  | HDC34 | Ground Rod Clamp, Rod to Conductor, Bronze, 3/4"
8.20.3.9.B.B-14 | SS | Ground Clamp - Acorn | Ilsco |  | CGRC-58 | Ground Rod Clamp, Direct Burial, 5/8"
8.20.3.9.B.B-15 | SS | Ground Clamp - Acorn | Penn Union |  | CAB-# | Bronze Ground Rod Clamp 1/2" rod or larger | # can be 1 or higher as applicable for rod size
8.20.3.9.B.B-16 | SS | Ground Clamp - Acorn | Thomas & Betts | Blackburn | G5 | Ground Rod Clamp, Direct Burial, 5/8"
8.20.3.9.B.C-1 | SS | Ground Clamp - Pipe Clamp | Burndy |  | C22D | Copper Ground Pipe Clamps, Direct Burial, 1 1/4" - 2"
8.20.3.9.B.C-2 | SS | Ground Clamp - Pipe Clamp | Burndy |  | C4 | Copper Ground Pipe Clamps, Direct Burial, 2 1/2" - 4"
8.20.3.9.B.C-3 | SS | Ground Clamp - Pipe Clamp | Burndy |  | GAR-#### | Ground Rod Clamp, Direct Burial, Conduit or Pipe | #### as applicable for pipe size and wire size
8.20.3.9.B.C-4 | SS | Ground Clamp - Pipe Clamp | LH Dottie |  | DB25 | Bare Ground Clamp, Direct Burial, 1/2" - 1"
8.20.3.9.B.C-5 | SS | Ground Clamp - Pipe Clamp | Morris |  | 90621 | Copper Ground Pipe Clamps, Direct Burial, 2 1/2" - 4"
8.20.3.9.B.C-6 | SS | Ground Clamp - Pipe Clamp | Morris |  | 90631 | Copper Ground Pipe Clamps, Direct Burial, 1/2" - 1"
8.20.3.9.B.C-7 | SS | Ground Clamp - Pipe Clamp | NSi Industries |  | G-1-SDBR | Heavy Duty Bronze Ground Clamp, 1/2" to 1"
8.20.3.9.B.C-8 | SS | Ground Clamp - Pipe Clamp | Ilsco |  | GPL-## | Ground Rod Clamp, Direct Burial, Conduit or Pipe | ## as applicable for pipe size and wire size
8.20.3.9.B.C-9 | SS | Ground Clamp - Pipe Clamp | Penn Union |  | KP-0-DB | Ground Rod Clamp - Direct Burial - Rebar sizes 3-8
8.20.3.9.B.C-10 | SS | Ground Clamp - Pipe Clamp | Penn Union |  | KP-1-DB | Ground Rod Clamp - Direct Burial - Rebar sizes 4-8
8.20.3.9.B.C-11 | SS | Ground Clamp - Pipe Clamp | Penn Union |  | KP-2-DB | Ground Rod Clamp - Direct Burial - Conduit / Pipe 1 1/4" - 2"
8.20.3.14.C.0-0 | SS | Foam Backer Rod |  |  |  | Section Header
8.20.3.14.C.0-1 | SS | Foam Backer Rod | Construction Foam Products | Nomaco | HBR XL | Cross-Linked, Closed Cell Backer Rod (Polyethylene) | ASTM D5249 Type 1 (hot and cold)
8.20.3.14.C.0-2 | SS | Foam Backer Rod | Armacell FillPro |  | Hot Rod XL | Closed-cell foam backer rod | ASTM D5249 Type 1 (hot and cold)
9.29.1.2.0.0-0 | SS | Rigid Metal Conduit Fittings and Appurtenances |  |  |  | Section Header
9.29.1.2.0.A-1 | SS | Ground Bushing | O-Z/Gedney |  | HBLG-#### |  | #### is conduit size/ground wire size
9.29.1.2.0.A-2 | SS | Ground Bushing | ABB | Thomas & Betts | BG###-XX-X |  | ### is conduit size (% of 1-inch), XX-X is lug wire size range
9.29.1.2.0.B-1 | SS | Sealing Locknut | American Fittings Corporation |  | SL# |  | # varies by conduit trade size (ex: SL6 is trade size 2-inch); approved up to 2-inch size max (UL Listing)
9.29.1.2.0.B-2 | SS | Sealing Locknut | Bridgeport |  | 14# |  | # varies by conduit trade size
9.29.1.2.0.C-1 | SS | Steel Locknut | Madison Electric Products |  | LNS-###UL |  | ### is conduit trade size; approved up to 2-inch size max (UL Listing)
9.29.1.2.0.C-2 | SS | Steel Locknut | American Fittings Corporation |  | LN##L |  | ### is conduit trade size (ex: 100 = 1-inch)
9.29.1.2.0.D-1 | SS | Steel Channel and Hardware | Unistrut |  | P1067-SS | 4-hole flat plate fitting, Type 304 stainless steel
9.29.1.2.0.D-2 | SS | Steel Channel and Hardware | Unistrut |  | P1063-SS | 3/8" square washer, Type 304 stainless steel
9.29.1.2.0.D-3 | SS | Steel Channel and Hardware | Wesanco-ZSI |  | W200EH-S6-## | 12-ga 1-5/8" x 1-5/8" Type 316 stainless steel channel, short slots | ## is length (10 or 20 ft)
9.29.1.2.0.D-4 | SS | Steel Channel and Hardware | Wesanco-ZSI |  | W210EH-S6-## | 14-ga 1-5/8" x 1-5/8" Type 316 stainless steel channel, short slots | ## is length (10 or 20 ft)
9.29.1.2.0.D-5 | SS | Steel Channel and Hardware | Wesanco-ZSI |  | W2-6-S6 | 3/8"-16 spring nut, Type 316 stainless steel
9.29.1.2.0.E-1 | SS | Conduit Clamp or Strap | Unistrut |  | P-2558-##-HG | Two-hole strap, hot-dip galvanized | ## is conduit trade size (ex: 20 = 2-inch)
9.29.1.2.0.E-2 | SS | Conduit Clamp or Strap | Unistrut |  | P-2558-##-SS | Two-hole strap, Type 304 stainless steel | ## is conduit trade size (ex: 20 = 2-inch)
9.29.1.2.0.E-3 | SS | Conduit Clamp or Strap | Unistrut |  | P-2558-##-ST | Two-hole strap, Type 316 stainless steel | ## is conduit trade size (ex: 20 = 2-inch)
9.29.1.2.A.A-0 | SS | Expansion Fitting |  |  |  | Section Header
9.29.1.2.A.A-1 | SS | Expansion Fitting | Prime Conduit |  | MREC4 | multiduct (4-way) with 8-inch (+/- 4-inches) travel
9.29.1.2.A.A-2 | SS | Expansion Fitting | O-Z/Gedney |  | AX-### | Expansion fitting, 4-inch (+/- 2-inches) travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.A-3 | SS | Expansion Fitting | O-Z/Gedney |  | AX-8-### | Expansion fitting, 8-inch (+/- 4-inches) travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.A-4 | SS | Expansion Fitting | Gafco |  | AF-### | Expansion fitting, 4-inch (+/- 2-inches) travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.A-5 | SS | Expansion Fitting | Gafco |  | AF8-### | Expansion fitting, 8-inch (+/- 4-inches) travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.A-6 | SS | Expansion Fitting | Eaton | Crouse-Hinds | XJG##4 HDG | Expansion fitting, 4-inch (+/- 2-inches) travel | ## is conduit size (catalog number)
9.29.1.2.A.A-7 | SS | Expansion Fitting | Eaton | Crouse-Hinds | XJG##8 HDG | Expansion fitting, 8-inch (+/- 4-inches) travel | ## is conduit size (catalog number)
9.29.1.2.A.A-8 | SS | Expansion Fitting | Hubbell | Killark | AF-###EG | Expansion fitting, 4-inch (+/- 2-inches) travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.A-9 | SS | Expansion Fitting | Hubbell | Killark | AF8-###EG | Expansion fitting, 8-inch (+/- 4-inches) travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.A-10 | SS | Expansion Fitting | ACP Electrical Fittings |  | AX###HDG | Expansion fitting, 4-inch (+/- 2-inches) travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.A-11 | SS | Expansion Fitting | ACP Electrical Fittings |  | AF###HDG | Expansion fitting, 4-inch (+/- 2-inches) travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.A-12 | SS | Expansion Fitting | ACP Electrical Fittings |  | AF8###HDG | Expansion fitting, 8-inch (+/- 4-inches) travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.B-0 | SS | Deflection Fitting |  |  |  | Section Header
9.29.1.2.A.B-1 | SS | Deflection Fitting | Prime Conduit |  | MROS4 | multiduct (4-way)
9.29.1.2.A.B-2 | SS | Deflection Fitting | O-Z/Gedney |  | DX-### | Deflection fitting; 3/4-inch all directions (expand/contract/offset); 30° bend | ### is conduit size (% of 1-inch)
9.29.1.2.A.B-3 | SS | Deflection Fitting | Gafco |  | DF-### | Deflection fitting; 3/4-inch all directions (expand/contract/offset); 30° bend | ### is conduit size (% of 1-inch)
9.29.1.2.A.B-4 | SS | Deflection Fitting | Eaton | Crouse-Hinds | XD## HDG | Deflection fitting; 3/4-inch all directions (expand/contract/offset); 30° bend | ## is conduit size (catalog number, 3-14)
9.29.1.2.A.B-5 | SS | Deflection Fitting | Hubbell | Killark | DF-###EG | Deflection fitting; 3/4-inch all directions (expand/contract/offset); 30° bend | ### is conduit size (% of 1-inch)
9.29.1.2.A.B-6 | SS | Deflection Fitting | ACP Electrical Fittings |  | DF###HDG | Deflection fitting; 3/4-inch all directions (expand/contract/offset); 30° bend | ### is conduit size (% of 1-inch)
9.29.1.2.A.C-0 | SS | Combination Expansion/Deflection Fitting |  |  |  | Section Header
9.29.1.2.A.C-1 | SS | Combination Expansion/Deflection Fitting | O-Z/Gedney |  | AXDX-### | Combination AX/DX fitting, 4-inches travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.C-2 | SS | Combination Expansion/Deflection Fitting | O-Z/Gedney |  | AXDX-8-### | Combination AX/DX fitting, 8-inches travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.C-3 | SS | Combination Expansion/Deflection Fitting | Gafco |  | AFDF-### | Combination AX/DX fitting, 4-inches travel | ### is conduit size (% of 1-inch)
9.29.1.2.A.C-4 | SS | Combination Expansion/Deflection Fitting | Gafco |  | AF8DF-### | Combination AX/DX fitting, 8-inches travel | ### is conduit size (% of 1-inch)
9.29.1.3.0.0-0 | SS | Flexible Metal Conduit |  |  |  | Section Header
9.29.1.3.0.0-1 | SS | Flexible Metal Conduit | AFC Cable Systems |  | LIQUID-TUFF
9.29.1.3.0.0-2 | SS | Flexible Metal Conduit | electri-flex |  | Type LA
9.29.1.3.0.0-3 | SS | Flexible Metal Conduit | Southwire | Titan2 | Type UL
9.29.1.5.D.0-0 | SS | Mechanical Duct Plug |  |  |  | Section Header
9.29.1.5.D.0-1 | SS | Mechanical Duct Plug | CalAm | Kwikie | 5120 series | Blank Duct Plugs - Loop Nut, Wing Nut, or Inside
9.29.1.5.D.0-2 | SS | Mechanical Duct Plug | CalAm | JackMoon | JM-SIM Series | Fiber Simplex Duct Plugs
9.29.1.5.D.0-3 | SS | Mechanical Duct Plug | CalAm | Wedge Seal | 7340 series | Triplex Entry Seal
9.29.1.5.D.0-4 | SS | Mechanical Duct Plug | CalAm | Wedge Seal | 7440 series | Quadplex Entry Seal
9.29.1.6.0.0-0 | SS | Detectable Underground Warning Tape |  |  |  | Section Header
9.29.1.6.0.0-1 | SS | Detectable Underground Warning Tape | 3M | Scotch | Scotch 407 | Scotch® Detectable Buried Barricade Tape 400 Series | 3" x 1000'
9.29.1.6.0.0-2 | SS | Detectable Underground Warning Tape | L.H. Dottie | DU | DU10 | Detectable Underground Warning Tape - Caution Buried Fiber Optic Line Below | 3" x 1000'
9.29.1.6.0.0-3 | SS | Detectable Underground Warning Tape | Empire |  | 31-150 | Detectable Underground Warning Tape - Caution Buried Fiber Optic Line Below | 3" x 1000'
9.29.1.10.0.0-0 | SS | Pull Tape |  |  |  | Section Header
9.29.1.10.0.0-1 | SS | Pull Tape | Herculine | Herculine | P####W | Polyester Herculine | #### is 900 or higher (rated tensile strength)
9.29.1.10.0.0-2 | SS | Pull Tape | Herculine | Herculine | A####W | Kevlar Herculine | #### is 900 or higher (rated tensile strength)
9.29.1.10.0.0-3 | SS | Pull Tape | CWC |  | 179120 |  | Woven Conduit Measuring Tape (1/2" - 1250#)
9.29.1.10.0.0-4 | SS | Pull Tape | CWC |  | 179135 |  | Woven Conduit Measuring Tape (5/8" - 1800#)
9.29.1.10.0.0-5 | SS | Pull Tape | Neptco | DT22 Series | DT###P | 900+ | Detectable MULETAPE (### must be 500 or higher)
9.29.1.10.0.0-6 | SS | Pull Tape | Neptco | FLATLINE | WP1130 |  | Polyester MULETAPE
9.29.1.10.0.0-7 | SS | Pull Tape | Neptco | MULETAPE | WP###P | 600+ | Polyester MULETAPE (### must be 500 or higher)
9.29.1.10.0.0-8 | SS | Pull Tape | Orion Ropeworks | Pulltape-Pet | 64P1250-#####-0 | 1250 or higher (1250 = 1/2") | Polyester Pulltape (##### is length in feet)
9.29.1.10.0.0-9 | SS | Pull Tape | Minerallac | Pull LN M Tape | 67696 | 3/4" x 3000 ft, 2500#
9.29.1.10.0.0-10 | SS | Pull Tape | Western-Rope |  | WRP2500-1K | 3/4" x 1000 ft, 2500#
9.29.1.10.0.0-11 | SS | Pull Tape | Klein Tools |  | 50131 | 0.6" x 1300 ft, 1800#
9.29.1.11.0.0-0 | SS | Foam Conduit Sealant |  |  |  | Section Header
9.29.1.11.0.0-1 | SS | Foam Conduit Sealant | CRC |  | No. 14077 | Minimal Expansion Foam
9.29.1.11.0.0-2 | SS | Foam Conduit Sealant | Polywater |  | FST Foam Duct Sealant
9.29.1.11.0.0-3 | SS | Foam Conduit Sealant | Superior Industries |  | Foam Seal
9.29.1.11.0.0-4 | SS | Foam Conduit Sealant | Todol |  | Duo Fill 400
9.29.1.11.0.0-5 | SS | Foam Conduit Sealant | Todol |  | Pur Fill NF12
9.29.1.11.0.0-6 | SS | Foam Conduit Sealant | LH Dottie |  | HF340
9.29.2.3.0.A-0 | SS | NEMA Barrier Box - Std - Non Adjsutable |  |  |  | Section Header
9.29.2.3.0.A-1 | SS | NEMA Barrier Box - Std - Non Adjsutable | Rhino Mfg. | N/A | R02600 Rev. A | NEMA 4X Non-Adjustable Barrier Box, WSDOT Std. Plan J-40.36 | Order code is approved drawing number.
9.29.2.3.0.B-0 | SS | NEMA Barrier Box - Std - Adjsutable |  |  |  | Section Header
9.29.2.3.0.B-1 | SS | NEMA Barrier Box - Std - Adjsutable | Rhino Mfg. | N/A | R02550 Rev. A | NEMA 3R Adjustable Barrier Box, WSDOT Std. Plan J-40.37 | Order code is approved drawing number.
9.29.3.1.A.A-0 | SS | Single-Mode Fiber-Optic Cable |  |  |  | Section Header
9.29.3.1.A.A-1 | SS | Single-Mode Fiber-Optic Cable | CommScope | D-LN | D-###-LN-8W-F12NS | Fiber Optic Cable, Outdoor Arid Core Gel-Free Tubes, Standard Loose Tube All-Dialectric | ### - Denotes number of fibers in cable
9.29.3.1.A.A-2 | SS | Single-Mode Fiber-Optic Cable | Corning | ALTOS | ###EU4-T4701D20 | ALTOS® Loose Tube, Gel-Free, All-Dielectric Cable with FastAccess® Technology | ### - Denotes number of fibers in cable; G.652.D fiber
9.29.3.1.A.A-3 | SS | Single-Mode Fiber-Optic Cable | Corning | ALTOS | ###ZU4-T3F22D20 | ALTOS® Loose Tube, Gel-Free, All-Dielectric Cables with Binderless FastAccess® Technology | ### - Denotes number of fibers in cable; markings in meters; SMF-28® Ultra fiber
9.29.3.1.A.A-4 | SS | Single-Mode Fiber-Optic Cable | Corning | ALTOS | ###ZU4-T4F22D20 | ALTOS® Loose Tube, Gel-Free, All-Dielectric Cables with Binderless FastAccess® Technology | ### - Denotes number of fibers in cable; markings in feet; SMF-28® Ultra fiber
9.29.3.1.A.A-5 | SS | Single-Mode Fiber-Optic Cable | Corning | ALTOS | ###ZU4-T4122D20 | ALTOS® All-Dielectric Gel-Free Cables | ### - Denotes number of fibers in cable
9.29.3.1.A.A-6 | SS | Single-Mode Fiber-Optic Cable | Superior Essex | Series 11D | 11###2D01 | Dri-Lite® Loose Tube Single Jacket All Dielectric | ### - Denotes number of fibers in cable; zero water peak; markings in feet
9.29.3.1.A.A-7 | SS | Single-Mode Fiber-Optic Cable | Superior Essex | Series 1GD | 1G###2D01 | Dri-Lite® Loose Tube Double Jacket Non-Armor | ### - Denotes number of fibers in cable; zero water peak; markings in feet
9.29.3.1.A.A-8 | SS | Single-Mode Fiber-Optic Cable | Prysmian | ExpressLT Dry | F-EDH-1JKT-12-HB-###-E3 | ExpressLT™ Dry Loose Tube Cable (2.5 mm) | ### - Denotes number of fibers in cable; single-mode low water peak; markings in feet
9.29.3.1.A.A-9 | SS | Single-Mode Fiber-Optic Cable | Prysmian | ExpressLT Dry | F-EDH-1JKT-12-CE-###-E3 | ExpressLT™ Dry Loose Tube Cable (2.5 mm) | ### - Denotes number of fibers in cable; Corning SMF-283+ fiber; markings in feet
9.29.3.1.A.B-1 | SS | Single-Mode Fiber-Optic Cable - Armored | CommScope | D-LA | D-###-LN-8W-F12NS | Fiber Optic Cable, Outdoor Arid Core Gel-Free Tubes, Stranded Loose Tube CST Armored | ### - Denotes number of fibers in cable
9.29.3.1.A.B-2 | SS | Single-Mode Fiber-Optic Cable - Armored | Superior Essex | Series 12D | 12###2D01 | Dri-Lite® Loose Tube Single Jacket Single Armor | ### - Denotes number of fibers in cable; zero water peak; markings in feet
9.29.3.1.A.B-3 | SS | Single-Mode Fiber-Optic Cable - Armored | Prysmian | ExpressLT Dry | F-EDH-1A1J-12-CE-###-E3 | ExpressLT™ Dry Loose Tube Cable (2.5 mm) - Single Armor | ### - Denotes number of fibers in cable; single-mode low water peak; markings in feet
9.29.3.2.A.4-0 | SS | Locate Wire |  |  |  | Section Header
9.29.3.2.A.4-1 | SS | Locate Wire | Pro-Trace |  | 74411.0632 / 0641 / 0647 / 0653 | HF-CCS PE30 | 500/1000/2500/5000 ft reels
9.29.3.2.A.4-2 | SS | Locate Wire | Pro-Trace |  | 74441.0632 / 0641 / 0647 / 0653 | HF-CCS PE40 | 500/1000/2500/5000 ft reels
9.29.3.2.A.4-3 | SS | Locate Wire | KrisTech |  | PE Tracer Wire | Copper HMWPE Tracer Wire | 14 AWG
9.29.3.2.A.4-4 | SS | Locate Wire | KrisTech |  | CCS Tracer Wire | Copper Clad Steel (CCS) Tracer Wire | 14 AWG
9.29.3.2.A.4-5 | SS | Locate Wire | Copperhead Industries | SuperFlex | 1430N-SF-#### | SuperFlex Copper Clad Steel (CCS) Tracer Wire, Orange Insulation | #### is spool length (500, 1000, or 2500 ft)
9.29.3.2.B.0-0 | SS | Cable - Multi-Conductor - IMSA 20-1 |  |  |  | Section Header
9.29.3.2.B.0-1 | SS | Cable - Multi-Conductor - IMSA 20-1 | Advanced Digital Cable | IMSA 20-1 Cable | 82XX | 14 AWG Solid, XX = number of conductors
9.29.3.2.B.0-2 | SS | Cable - Multi-Conductor - IMSA 20-1 | Advanced Digital Cable | IMSA 20-1 Cable | 83XX | 14 AWG Stranded, XX = number of conductors | Stranded required unless otherwise noted in Contract
9.29.3.2.B.0-3 | SS | Cable - Multi-Conductor - IMSA 20-1 | Advanced Digital Cable | IMSA 20-1 Cable | 86XX | 12 AWG Solid, XX = number of conductors
9.29.3.2.B.0-4 | SS | Cable - Multi-Conductor - IMSA 20-1 | Advanced Digital Cable | IMSA 20-1 Cable | 87XX | 12 AWG Stranded, XX = number of conductors | Stranded required unless otherwise noted in Contract
9.29.3.2.B.0-5 | SS | Cable - Multi-Conductor - IMSA 20-1 | Falcon Fine Wire | IMSA 20-1 Cable | 98XX1220-1 | 12 AWG Stranded, XX = number of conductors | Stranded required unless otherwise noted in Contract
9.29.3.2.B.0-6 | SS | Cable - Multi-Conductor - IMSA 20-1 | Falcon Fine Wire | IMSA 20-1 Cable | 98XX12X20-1 | 12 AWG Solid, XX = number of conductors
9.29.3.2.B.0-7 | SS | Cable - Multi-Conductor - IMSA 20-1 | Falcon Fine Wire | IMSA 20-1 Cable | 98XX1420-1 | 14 AWG Stranded, XX = number of conductors
9.29.3.2.B.0-8 | SS | Cable - Multi-Conductor - IMSA 20-1 | Falcon Fine Wire | IMSA 20-1 Cable | 98XX14X20-1 | 14 AWG Solid, XX = number of conductors | Stranded required unless otherwise noted in Contract
9.29.3.2.B.0-9 | SS | Cable - Multi-Conductor - IMSA 20-1 | Lake Cable | IMSA 20-1 Cable | IM201XXY/1 | XX = wire size, Y = number of conductors, solid
9.29.3.2.B.0-10 | SS | Cable - Multi-Conductor - IMSA 20-1 | Lake Cable | IMSA 20-1 Cable | IM201XXY/7 | XX = wire size, Y = number of conductors, stranded | Stranded required unless otherwise noted in Contract
9.29.3.2.B.0-11 | SS | Cable - Multi-Conductor - IMSA 20-1 | Omni Cable | IMSA 20-1 Cable | IM20112XX | 12 AWG Solid, XX = number of conductors
9.29.3.2.B.0-12 | SS | Cable - Multi-Conductor - IMSA 20-1 | Omni Cable | IMSA 20-1 Cable | IM20112XX7 | 12 AWG Stranded, XX = number of conductors
9.29.3.2.B.0-13 | SS | Cable - Multi-Conductor - IMSA 20-1 | Omni Cable | IMSA 20-1 Cable | IM20114XX | 14 AWG Solid, XX = number of conductors | Stranded required unless otherwise noted in Contract
9.29.3.2.B.0-14 | SS | Cable - Multi-Conductor - IMSA 20-1 | Omni Cable | IMSA 20-1 Cable | IM20114XX7 | 14 AWG Stranded, XX = number of conductors | Stranded required unless otherwise noted in Contract
9.29.3.2.D.0-0 | SS | Pole & Bracket Cable |  |  |  | Section Header
9.29.3.2.D.0-1 | SS | Pole & Bracket Cable | Lake Cable |  | 09319NKS17 | #10 2c 600V Pole & Bracket Cable | Cable markings read: #####FT LAKE CABLE 10AWG 2C 600V POLE & BRACKET CABLE “ROHS COMPLIANT” MADE IN USA Lot# ???????
9.29.3.2.E.0-0 | SS | Cable - Two Conductor Shielded (2cs) |  |  |  | Section Header
9.29.3.2.E.0-1 | SS | Cable - Two Conductor Shielded (2cs) | Omni Cable | IMSA 50-2 | LD502142 | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #14 AWG
9.29.3.2.E.0-2 | SS | Cable - Two Conductor Shielded (2cs) | Omni Cable | IMSA 50-2 | LD502122 | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #12 AWG
9.29.3.2.E.0-3 | SS | Cable - Two Conductor Shielded (2cs) | Lake Cable | IMSA 50-2 | IM502142T/19 | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #14 AWG
9.29.3.2.E.0-4 | SS | Cable - Two Conductor Shielded (2cs) | Lake Cable | IMSA 50-2 | IM502122T/19 | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #12 AWG
9.29.3.2.E.0-5 | SS | Cable - Two Conductor Shielded (2cs) | Falcon Fine Wire | IMSA 50-2 | 98021850-2 | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #18 AWG | 18 AWG - WIM System Only
9.29.3.2.E.0-6 | SS | Cable - Two Conductor Shielded (2cs) | Falcon Fine Wire | IMSA 50-2 | 98021450-2 | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #14 AWG
9.29.3.2.E.0-7 | SS | Cable - Two Conductor Shielded (2cs) | Falcon Fine Wire | IMSA 50-2 | 98021250-2 | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #12 AWG
9.29.3.2.E.0-8 | SS | Cable - Two Conductor Shielded (2cs) | Electro Cables | IMSA 50-2 | 5011802ST-ECS | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #18 AWG | 18 AWG - WIM System Only
9.29.3.2.E.0-9 | SS | Cable - Two Conductor Shielded (2cs) | Advanced Digital Cable | IMSA 50-2 | 8742A | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #18 AWG | 18 AWG - WIM System Only
9.29.3.2.E.0-10 | SS | Cable - Two Conductor Shielded (2cs) | Advanced Digital Cable | IMSA 50-2 | 8782A | 600V Aluminum Shielded Polyethylene IMSA 50-2 Twisted Pair Cable - #14 AWG
9.29.3.2.F.A-0 | SS | Detector Loop Wire |  |  |  | Section Header
9.29.3.2.F.A-1 | SS | Detector Loop Wire | Advanced Digital Cable | IMSA 51-3 | 8465 | 600V XLPE IMSA 51-3 Loop Detector Cable - #14 AWG
9.29.3.2.F.A-2 | SS | Detector Loop Wire | Advanced Digital Cable | IMSA 51-3 | 8464 | 600V XLPE IMSA 51-3 Loop Detector Cable - #12 AWG
9.29.3.2.F.A-3 | SS | Detector Loop Wire | Falcon Fine Wire | IMSA 51-3 | 98011451-3 | 600V XLPE IMSA 51-3 Loop Detector Cable - #14 AWG
9.29.3.2.F.A-4 | SS | Detector Loop Wire | Falcon Fine Wire | IMSA 51-3 | 98011251-3 | 600V XLPE IMSA 51-3 Loop Detector Cable - #12 AWG
9.29.3.2.F.A-5 | SS | Detector Loop Wire | Lake Cable | IMSA 51-3 | IM513141/7 | 600V XLPE IMSA 51-3 Loop Detector Cable - #14 AWG
9.29.3.2.F.A-6 | SS | Detector Loop Wire | Lake Cable | IMSA 51-3 | IM513121/7 | 600V XLPE IMSA 51-3 Loop Detector Cable - #12 AWG
9.29.3.2.F.A-7 | SS | Detector Loop Wire | Omni Cable | IMSA 51-3 | LD513141 | 600V XLPE IMSA 51-3 Loop Detector Cable - #14 AWG
9.29.3.2.F.A-8 | SS | Detector Loop Wire | Omni Cable | IMSA 51-3 | LD513121 | 600V XLPE IMSA 51-3 Loop Detector Cable - #12 AWG
9.29.3.2.F.B-0 | SS | Detector Loop Wire - Tube Encased |  |  |  | Section Header
9.29.3.2.F.B-1 | SS | Detector Loop Wire - Tube Encased | Falcon Fine Wire | IMSA 51-7 | 98011451-7 | 600V XLPE/HDPE IMSA 51-7 Detector Cable - #14 AWG
9.29.3.2.F.B-2 | SS | Detector Loop Wire - Tube Encased | Falcon Fine Wire | IMSA 51-7 | 98011251-7 | 600V XLPE/HDPE IMSA 51-7 Detector Cable - #12 AWG
9.29.3.2.F.B-3 | SS | Detector Loop Wire - Tube Encased | Advanced Digital Cable | IMSA 51-7 | 8460XLP | 600V XLPE/HDPE IMSA 51-7 Detector Cable - #14 AWG
9.29.3.2.F.B-4 | SS | Detector Loop Wire - Tube Encased | Advanced Digital Cable | IMSA 51-7 | 8470XLP | 600V XLPE/HDPE IMSA 51-7 Detector Cable - #12 AWG
9.29.3.2.F.B-5 | SS | Detector Loop Wire - Tube Encased | Lake Cable | IMSA 51-7 | IM517141/19-00PE | 600V XLPE/HDPE IMSA 51-7 Detector Cable - #14 AWG - Black Outer Jacket
9.29.3.2.F.B-6 | SS | Detector Loop Wire - Tube Encased | Lake Cable | IMSA 51-7 | IM517141/19-03PE | 600V XLPE/HDPE IMSA 51-7 Detector Cable - #14 AWG - Orange Outer Jacket
9.29.3.2.H.0-0 | SS | Cable - Three Conductor Shielded (3cs) |  |  |  | Section Header
9.29.3.2.H.0-1 | SS | Cable - Three Conductor Shielded (3cs) | Falcon Fine Wire | Opticom 138 Cable | 970320OPT | 3x 20 AWG 7/28
9.29.3.2.H.0-2 | SS | Cable - Three Conductor Shielded (3cs) | GTT | Opticom | 138 IR Detector Cable | 3x 20 AWG 7/28 | GTT Brand normally required for new installations for warranty purposes
9.29.3.2.H.0-3 | SS | Cable - Three Conductor Shielded (3cs) | Advanced Digital Cable |  | 32003HSD | 3x 20 AWG 7/28
9.29.3.2.I.0-0 | SS | Cable - Twisted Pair |  |  |  | Section Header
9.29.3.2.I.0-1 | SS | Cable - Twisted Pair | General Cable |  | Spec 2002 | Filled Solid 5-Mil Copper Cable, RDUP (RUS) PE-39 CU, 6 pair #22 AWG
9.29.3.2.J.0-0 | SS | Cable - Ethernet |  |  |  | Section Header
9.29.3.2.J.A-1 | SS | Cable - Ethernet - Cat 6 | true Cable |  | 6ESCMXBLK | _1Krl: 1000 ft reel; _500rl: 500 ft reel
9.29.3.2.J.A-2 | SS | Cable - Ethernet - Cat 6 | Mohawk (Belden) |  | LT57979
9.29.3.2.J.A-3 | SS | Cable - Ethernet - Cat 6 | Vertical Cable |  | 069-561/CMXT
9.29.3.2.J.A-4 | SS | Cable - Ethernet - Cat 6 | CommScope |  | 760170886 | 1572A Category 6 F/UTP filled cable, outdoor, black jacket, aluminum tape shield, inner jacket, 4 pair count, 23AWG, rated 802.3bt (Type 4)/100W, 1000 ft (305 m) length, reel
9.29.3.2.J.A-5 | SS | Cable - Ethernet - Cat 6 | Belden |  | C6F110#### | F/UTP CAT6+ Patch cable | #### is color and length
9.29.3.2.J.A-6 | SS | Cable - Ethernet - Cat 6 | Primus Cable |  | C6CMXE-5365BK
9.29.3.2.J.A-7 | SS | Cable - Ethernet - Cat 6 | Superior Essex |  | BBDN6 | F/UTP 23 AWG rated 802.3at Type 2 (30W)
9.29.3.2.J.B-1 | SS | Cable - Ethernet - Cat 6A | Primus Cable |  | C6AXE-1507 |  | UL-444 required to meet 300V rating
9.29.3.2.J.B-2 | SS | Cable - Ethernet - Cat 6A | true Cable |  | 6ASCMXBLK | _1Krl: 1000 ft reel; _500rl: 500 ft reel
9.29.3.2.J.B-3 | SS | Cable - Ethernet - Cat 6A | Superior Essex |  | 6F-272-ER | CMP-CMX, 1000 ft reel
9.29.3.2.J.C-1 | SS | Cable - Ethernet - Patch Cable | Black Box |  | EVNSL25E-???? | ???? ft Cat5e Patch Cable, 100 MHz | Up to 2.5G
9.29.3.2.J.C-2 | SS | Cable - Ethernet - Patch Cable | Black Box |  | EVNSL81-???? | ???? ft Cat5e Patch Cable, 350 MHz | Up to 2.5G
9.29.3.2.J.C-3 | SS | Cable - Ethernet - Patch Cable | Black Box |  | EVNSL641-???? | ???? ft Cat6 Patch Cable, 550 MHz with boots | Up to 5G
9.29.3.3.0.0-0 | SS | Wire Marking Sleeve |  |  |  | Section Header
9.29.3.3.0.0-1 | SS | Wire Marking Sleeve | impact, Inc. |  | AWMS ## x ** - W ($$$$) | Polyolefin heat shrink (2:1) wire marking sleeve | ## = expanded diameter, ** = length, $$$$ = pieces per box
9.29.3.3.0.0-2 | SS | Wire Marking Sleeve | impact, Inc. |  | (3X) ## x ** - W ($$$$) | Polyolefin heat shrink (3:1) wire marking sleeve | ## = expanded diameter, ** = length, $$$$ = pieces per box
9.29.3.3.0.0-3 | SS | Wire Marking Sleeve | Brady |  | 3PS-###-**-$ | Polyolefin heat shrink (3:1) wire marking sleeve | ## = wire diameter (mils), ** = length, $ = optional roll qty, no sleeve splits
9.29.5.0.0.A-0 | SS | Terminal Cabinet |  |  |  | Section Header
9.29.5.0.0.A-1 | SS | Terminal Cabinet | Western Systems | N/A | 2020060000 | 16" H x 12" W x 8" D Terminal Cabinet, Type 3R, with 2 12-position terminal blocks
9.29.5.0.0.A-2 | SS | Terminal Cabinet | Rhino Mfg. | N/A | R08394 | 16" H x 12" W x 8" D Terminal Cabinet, Type 3R, with 2 12-position terminal blocks | Order code is approved drawing number.
9.29.7.2.0.0-0 | SS | Fuse |  |  |  | Section Header | Order code is approved drawing number.
9.29.7.2.0.A-1 | SS | Fuse - Time-Delay | Mersen |  | ATQ series | 500V Midget Time-Delay Fuse | Size in accordance with Standard Specification 9-29.7(2)
9.29.7.2.0.A-2 | SS | Fuse - Time-Delay | Eaton | Bussman | FNQ series | 500V Midget Time-Delay Fuse | Size in accordance with Standard Specification 9-29.7(2)
9.29.7.2.0.A-3 | SS | Fuse - Time-Delay | Eaton | Bussman | FNM series | 250V Midget Time-Delay Fuse | Size in accordance with Standard Specification 9-29.7(2); 120V or 240V circuits only
9.29.7.2.0.A-4 | SS | Fuse - Time-Delay | Littelfuse |  | FLQ series | 500V Midget Time-Delay Fuse | Size in accordance with Standard Specification 9-29.7(2)
9.29.7.2.0.A-5 | SS | Fuse - Time-Delay | Littelfuse |  | FLM series | 250V Midget Time-Delay Fuse | Size in accordance with Standard Specification 9-29.7(2); 120V or 240V circuits only
9.29.7.2.0.A-6 | SS | Fuse - Time-Delay | Eaton | Edison | MEQ series | 500V Midget Time-Delay Fuse | Size in accordance with Standard Specification 9-29.7(2)
9.29.7.2.0.B-1 | SS | Fuse - Fast-Acting | Mersen |  | ATM series | 600V Midget Fast-Acting Fuse | Size in accordance with Standard Specification 9-29.7(2)
9.29.7.2.0.B-2 | SS | Fuse - Fast-Acting | Eaton | Bussman | KTK series | 600V Midget Fast-Acting Fuse | Size in accordance with Standard Specification 9-29.7(2)
9.29.7.2.0.B-3 | SS | Fuse - Fast-Acting | Eaton | Edison | MCL series | 600V Midget Fast-Acting Fuse | Size in accordance with Standard Specification 9-29.7(2)
9.29.7.2.0.B-4 | SS | Fuse - Fast-Acting | Littelfuse |  | KLK series | 600V Midget Fast-Acting Fuse | Size in accordance with Standard Specification 9-29.7(2)
9.29.10.1.0.A-0 | SS | Shorting Cap |  |  |  | Section Header
9.29.10.1.0.A-1 | SS | Shorting Cap | Sun-Tech |  | S1039 | Low Profile Shorting Cap, up to 480V
9.29.10.1.0.A-2 | SS | Shorting Cap | Sun-Tech |  | FPN-1038-1 | Shorting Cap, up to 530V
9.29.10.1.B.A-0 | SS | LED Conventional Roadway Luminaire - 200W Class |  |  |  | Section Header
9.29.10.1.B.A-1 | SS | LED Conventional Roadway Luminaire - 200W Class | Cooper | Streetworks | ARCH-M-PA2-70-730-U-T3-AP-10K-U101941 | Archeon Medium (ARCH-M), 73W, 120-277V
9.29.10.1.B.A-2 | SS | LED Conventional Roadway Luminaire - 200W Class | Cooper | Streetworks | ARCH-M-PA2-70-730-8-T3-AP-10K-U101940 | Archeon Medium (ARCH-M), 73W, 480V
9.29.10.1.B.A-3 | SS | LED Conventional Roadway Luminaire - 200W Class | SolarMAX |  | SMX-81WiE-NV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5, 82W, 120-277V
9.29.10.1.B.A-4 | SS | LED Conventional Roadway Luminaire - 200W Class | SolarMAX |  | SMX-81WiE-HV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5, 82W, 480V
9.29.10.1.B.A-5 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-MVOLT-R4-3K-MP-NL-NR-RFD336856* | Autobahn ATB2, 83W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-6 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-MVOLT-R4-3K-MP-NL-NR-BAA-RFD337579* | Autobahn ATB2, 83W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-7 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-480-R4-3K-MP-NL-NR-RFD336857* | Autobahn ATB2, 83W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-8 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-480-R4-3K-MP-NL-NR-BAA-RFD337580* | Autobahn ATB2, 83W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-9 | SS | LED Conventional Roadway Luminaire - 200W Class | Cooper | Streetworks | NVN-SA2B-730-U-T3-AP-10K-U125867 | Navion (NVN), 85W, 120-277V
9.29.10.1.B.A-10 | SS | LED Conventional Roadway Luminaire - 200W Class | Cooper | Streetworks | NVN-SA2B-730-8-T3-AP-10K-U125871 | Navion (NVN), 85W, 120-480V
9.29.10.1.B.A-11 | SS | LED Conventional Roadway Luminaire - 200W Class | Cree |  | XSPLG-D-HT-3ME-18L-30K7-UL-J-X3 | XSP Large (XSPLG), 85W, 120-277V
9.29.10.1.B.A-12 | SS | LED Conventional Roadway Luminaire - 200W Class | Cree |  | XSPLG-D-HT-3ME-18L-30K7-UH-J-X3 | XSP Large (XSPLG), 85W, 480V
9.29.10.1.B.A-13 | SS | LED Conventional Roadway Luminaire - 200W Class | Current (GE) | Evolve | ERL1-0-12-C5-30-1-GRAY-A-B-I-L-300 | ERL1, 93W, 120-277V
9.29.10.1.B.A-14 | SS | LED Conventional Roadway Luminaire - 200W Class | Current (GE) | Evolve | ERL1-H-12-C5-30-1-GRAY-A-B-I-L-300 | ERL1, 93W, 480V
9.29.10.1.B.A-15 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ATB2-P601-MVOLT-R4-3K-MP-NL-NR-AO4-RFD336858* | Autobahn ATB2, 97W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-16 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ATB2-P601-MVOLT-R4-3K-MP-NL-NR-AO4-BAA-RFD337581* | Autobahn ATB2, 97W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-17 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ATB2-P601-480-R4-3K-MP-NL-NR-AO4-RFD336859* | Autobahn ATB2, 97W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-18 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ATB2-P601-480-R4-3K-MP-NL-NR-AO4-BAA-RFD337582* | Autobahn ATB2, 97W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-19 | SS | LED Conventional Roadway Luminaire - 200W Class | Leotek | Green Cobra | GCL1-80J-MV-30K-3F-GY-155-LPCR-4B-DSC-WL20E | GCL1, 105W, 120-277V
9.29.10.1.B.A-20 | SS | LED Conventional Roadway Luminaire - 200W Class | Leotek | Green Cobra | GCL1-80J-HV-30K-3F-GY-155-LPCR-4B-DSC-WL20E | GCL1, 105W, 480V
9.29.10.1.B.A-21 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ACM-P607-MVOLT-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB-RFD342040* | Autoconnect Medium (ACM), 107W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-22 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ACM-P607-MVOLT-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB-BAA-RFD342041* | Autoconnect Medium (ACM), 107W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-23 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ACM-P607-XVOLT480-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB-RFD342043* | Autoconnect Medium (ACM), 107W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-24 | SS | LED Conventional Roadway Luminaire - 200W Class | Acuity | American Electric Lighting (AEL) | ACM-P607-XVOLT480-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB-BAA-RFD342043* | Autoconnect Medium (ACM), 107W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.A-25 | SS | LED Conventional Roadway Luminaire - 200W Class | Signify | Lumec | RFM-108W32LED3K-G2-R3M-UNIV-2C-NRC-GY3 | RoadFocus Medium (RFM), 108W, 120-277V
9.29.10.1.B.A-26 | SS | LED Conventional Roadway Luminaire - 200W Class | Signify | Lumec | RFM-108W32LED3K-G2-R3M-HVU-2C-NRC-GY3 | RoadFocus Medium (RFM), 108W, 480V
9.29.10.1.B.B-0 | SS | LED Conventional Roadway Luminaire - 250W Class |  |  |  | Section Header
9.29.10.1.B.B-1 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-MVOLT-R3-3K-MP-NL-NR-RFD337545* | Autobahn ATB2, 105W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-2 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-MVOLT-R3-3K-MP-NL-NR-BAA-RFD337587* | Autobahn ATB2, 105W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-3 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-480-R3-3K-MP-NL-NR-RFD337546 | Autobahn ATB2, 105W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-4 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-480-R3-3K-MP-NL-NR-BAA-RFD337588* | Autobahn ATB2, 105W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-5 | SS | LED Conventional Roadway Luminaire - 250W Class | Cree |  | TRVLG-A-HT-3ME-16L-30K7-UL-GY-4BLT-W10 | Traveyo Large (XSPLG), 110W, 120-277V
9.29.10.1.B.B-6 | SS | LED Conventional Roadway Luminaire - 250W Class | Cree |  | TRVLG-A-HT-3ME-16L-30K7-UH-GY-4BLT-W10 | Traveyo Large (XSPLG), 110W, 480V
9.29.10.1.B.B-7 | SS | LED Conventional Roadway Luminaire - 250W Class | Current (GE) | Evolve | ERL2-0-16-C5-30-1-GRAY-A-B-I-L-041 | ERL2, 114W, 120-277V
9.29.10.1.B.B-8 | SS | LED Conventional Roadway Luminaire - 250W Class | Current (GE) | Evolve | ERL2-H-16-C5-30-1-GRAY-A-B-I-L-041 | ERL2, 114W, 480V
9.29.10.1.B.B-9 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ACM-P608-MVOLT-ZT-R3-4B-3K-GY-MP-NL-NTR-NTB-BAA-RFD342044 | Autoconnect Medium (ACM), 118W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-10 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ACM-P608-MVOLT-ZT-R3-4B-3K-GY-MP-NL-NTR-NTB--RFD342045 | Autoconnect Medium (ACM), 118W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-11 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ACM-P608-XVOLT480-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB--RFD342047 | Autoconnect Medium (ACM), 118W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-12 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ACM-P608-XVOLT480-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB-BAA-RFD342046 | Autoconnect Medium (ACM), 118W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-13 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATB2-P601-MVOLT-R3-3K-MP-NL-NR-AO5-RFD336864 | Autobahn ATB2, 119W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-14 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATB2-P601-MVOLT-R3-3K-MP-NL-NR-AO5-BAA-RFD337585* | Autobahn ATB2, 119W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-15 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATB2-P601-480-R3-3K-MP-NL-NR-AO5-RFD336865 | Autobahn ATB2, 119W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-16 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATB2-P601-480-R3-3K-MP-NL-NR-AO5-BAA-RFD337586* | Autobahn ATB2, 119W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-17 | SS | LED Conventional Roadway Luminaire - 250W Class | SolarMAX |  | SMX-120WiE-NV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5, 120W, 120-277V
9.29.10.1.B.B-18 | SS | LED Conventional Roadway Luminaire - 250W Class | SolarMAX |  | SMX-120WiE-HV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5, 120W, 480V
9.29.10.1.B.B-19 | SS | LED Conventional Roadway Luminaire - 250W Class | Cooper | Streetworks | ARCH-M-PA2-120-730-U-T3-AP-10K-U103211 | Archeon Medium (ARCH-M), 122W, 120-277V
9.29.10.1.B.B-20 | SS | LED Conventional Roadway Luminaire - 250W Class | Cooper | Streetworks | ARCH-M-PA2-120-730-8-T3-AP-10K-U103212 | Archeon Medium (ARCH-M), 122W, 480V
9.29.10.1.B.B-21 | SS | LED Conventional Roadway Luminaire - 250W Class | Leotek | Green Cobra | GCL1-80J-MV-30K-3F-GY-185-LPCR-4B-DSC-WL25E | GCL1, 123W, 120-277V
9.29.10.1.B.B-22 | SS | LED Conventional Roadway Luminaire - 250W Class | Leotek | Green Cobra | GCL1-80J-HV-30K-3F-GY-185-LPCR-4B-DSC-WL25E | GCL1, 123W, 480V
9.29.10.1.B.B-23 | SS | LED Conventional Roadway Luminaire - 250W Class | Cooper | Streetworks | NVN-SA3B-730-U-T3-AP-10K-U125868 | Navion (NVN), 124W, 120-277V
9.29.10.1.B.B-24 | SS | LED Conventional Roadway Luminaire - 250W Class | Cooper | Streetworks | NVN-SA3B-730-8-T3-AP-10K-U125872 | Navion (NVN), 124W, 120-480V
9.29.10.1.B.B-25 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATBM-P40-MVOLT-R3-4B-3K-MP-NL-NR-RFD336860 | Autobahn ATBM, 135W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-26 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATBM-P40-MVOLT-R3-4B-3K-MP-NL-NR-BAA-RFD337583* | Autobahn ATBM, 135W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-27 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATBM-P40-480-R3-4B-3K-MP-NL-NR-RFD336861 | Autobahn ATBM, 135W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-28 | SS | LED Conventional Roadway Luminaire - 250W Class | Acuity | American Electric Lighting (AEL) | ATBM-P40-480-R3-4B-3K-MP-NL-NR-BAA-RFD337584* | Autobahn ATBM, 135W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.B-29 | SS | LED Conventional Roadway Luminaire - 250W Class | Signify | Lumec | RFL-135W80LED3K-G2-R3M-UNIV-NRC-GY3 | RoadFocus Large (RFL), 136W, 120-277V
9.29.10.1.B.B-30 | SS | LED Conventional Roadway Luminaire - 250W Class | Signify | Lumec | RFL-135W80LED3K-G2-R3M-HVU-NRC-GY3 | RoadFocus Large (RFL), 136W, 480V
9.29.10.1.B.C-0 | SS | LED Conventional Roadway Luminaire - 310W Class |  |  |  | Section Header
9.29.10.1.B.C-1 | SS | LED Conventional Roadway Luminaire - 310W Class | SolarMAX |  | SMX-134WiE-NV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5, 135W, 120-277V
9.29.10.1.B.C-2 | SS | LED Conventional Roadway Luminaire - 310W Class | SolarMAX |  | SMX-134WiE-HV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5, 135W, 480V
9.29.10.1.B.C-3 | SS | LED Conventional Roadway Luminaire - 310W Class | Acuity | American Electric Lighting (AEL) | ACL-P126-MVOLT-ZT-R3-4B-3K-GY-MP-NL-NTR-NTB-RFD342049* | Autoconnect Large (ACL), 157W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.C-4 | SS | LED Conventional Roadway Luminaire - 310W Class | Acuity | American Electric Lighting (AEL) | ACL-P126-MVOLT-ZT-R3-4B-3K-GY-MP-NL-NTR-NTB-BAA-RFD342048* | Autoconnect Large (ACL), 157W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.C-5 | SS | LED Conventional Roadway Luminaire - 310W Class | Acuity | American Electric Lighting (AEL) | ACL-P126-XVOLT480-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB-RFD342051* | Autoconnect Large (ACL), 157W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.C-6 | SS | LED Conventional Roadway Luminaire - 310W Class | Acuity | American Electric Lighting (AEL) | ACL-P126-XVOLT480-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB-BAA-RFD342050* | Autoconnect Large (ACL), 157W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.C-7 | SS | LED Conventional Roadway Luminaire - 310W Class | Cooper | Streetworks | ARCH-L-PA3-160-730-U-T3-AP-10K-U103213 | Archeon Large (ARCH-L), 162W, 120-277V
9.29.10.1.B.C-8 | SS | LED Conventional Roadway Luminaire - 310W Class | Cooper | Streetworks | ARCH-L-PA3-160-730-8-T3-AP-10K-U103214 | Archeon Large (ARCH-L), 162W, 480V
9.29.10.1.B.C-9 | SS | LED Conventional Roadway Luminaire - 310W Class | Cree |  | XSPLG-D-HT-3ME-24L-30K7-UL-J-X7 | XSP Large (XSPLG), 164W, 120-277V
9.29.10.1.B.C-10 | SS | LED Conventional Roadway Luminaire - 310W Class | Cree |  | XSPLG-D-HT-3ME-24L-30K7-UH-J-X7 | XSP Large (XSPLG), 164W, 480V
9.29.10.1.B.C-11 | SS | LED Conventional Roadway Luminaire - 310W Class | Signify | Lumec | RFL-165W100LED3K-G2-R3M-UNIV-NRC-GY3 | RoadFocus Large (RFL), 165W, 120-277V
9.29.10.1.B.C-12 | SS | LED Conventional Roadway Luminaire - 310W Class | Signify | Lumec | RFL-165W100LED3K-G2-R3M-HVU-NRC-GY3 | RoadFocus Large (RFL), 165W, 480V
9.29.10.1.B.C-13 | SS | LED Conventional Roadway Luminaire - 310W Class | Cooper | Streetworks | NVN-SA3C-730-U-T3-AP-10K-U125869 | Navion (NVN), 166W, 120-277V
9.29.10.1.B.C-14 | SS | LED Conventional Roadway Luminaire - 310W Class | Cooper | Streetworks | NVN-SA3C-730-8-T3-AP-10K-U125873 | Navion (NVN), 166W, 120-480V
9.29.10.1.B.C-15 | SS | LED Conventional Roadway Luminaire - 310W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-MVOLT-R3-3K-MP-NL-NR-RFD336868* | Autobahn ATB2, 170W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.C-16 | SS | LED Conventional Roadway Luminaire - 310W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-MVOLT-R3-3K-MP-NL-NR-BAA-RFD337589* | Autobahn ATB2, 170W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.C-17 | SS | LED Conventional Roadway Luminaire - 310W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-480-R3-3K-MP-NL-NR-RFD336869* | Autobahn ATB2, 170W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.C-18 | SS | LED Conventional Roadway Luminaire - 310W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-480-R3-3K-MP-NL-NR-BAA-RFD337590* | Autobahn ATB2, 170W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.C-19 | SS | LED Conventional Roadway Luminaire - 310W Class | Leotek | Green Cobra | GCL2-80J-MV-30K-3F-GY-240-LPCR-4B-DSC-WL31E | GCL2, 173W, 120-277V
9.29.10.1.B.C-20 | SS | LED Conventional Roadway Luminaire - 310W Class | Leotek | Green Cobra | GCL2-80J-HV-30K-3F-GY-240-LPCR-4B-DSC-WL31E | GCL2, 173W, 480V
9.29.10.1.B.C-21 | SS | LED Conventional Roadway Luminaire - 310W Class | Current (GE) | Evolve | ERL2-0-20-C5-30-1-GRAY-A-B-I-L-041 | ERL2, 177W, 120-277V
9.29.10.1.B.C-22 | SS | LED Conventional Roadway Luminaire - 310W Class | Current (GE) | Evolve | ERL2-H-20-C5-30-1-GRAY-A-B-I-L-041 | ERL2, 177W, 480V
9.29.10.1.B.D-0 | SS | LED Conventional Roadway Luminaire - 400W Class |  |  |  | Section Header
9.29.10.1.B.D-1 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-MVOLT-R3-3K-MP-NL-NR-RFD337541* | Autobahn ATB2, 187W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-2 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-MVOLT-R3-3K-MP-NL-NR-BAA-RFD337593* | Autobahn ATB2, 187W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-3 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-480-R3-3K-MP-NL-NR-RFD337542* | Autobahn ATB2, 187W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-4 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ATB2-P4XX-480-R3-3K-MP-NL-NR-BAA-RFD337594* | Autobahn ATB2, 187W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-5 | SS | LED Conventional Roadway Luminaire - 400W Class | Current (GE) | Evolve | ERL6-0-28-C6-30-1-GRAY-A-B-I-L-001 | ERL6, 187W, 120-277V
9.29.10.1.B.D-6 | SS | LED Conventional Roadway Luminaire - 400W Class | Current (GE) | Evolve | ERL6-H-28-C6-30-1-GRAY-A-B-I-L-001 | ERL6, 187W, 480V
9.29.10.1.B.D-7 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ATB2-P602-MVOLT-R3-3K-MP-NL-NR-RFD336872* | Autobahn ATB2, 196W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-8 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ATB2-P602-MVOLT-R3-3K-MP-NL-NR-BAA-RFD337591* | Autobahn ATB2, 196W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-9 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ATB2-P602-480-R3-3K-MP-NL-NR-RFD336873 | Autobahn ATB2, 196W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-10 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ATB2-P602-480-R3-3K-MP-NL-NR-BAA-RFD337592* | Autobahn ATB2, 196W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-11 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ACL-P128-MVOLT-ZT-R3-4B-3K-GY-MP-NL-NTR-NTB-RFD342053* | Autoconnect Large (ACL), 199W, 120-277V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-12 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ACL-P128-MVOLT-ZT-R3-4B-3K-GY-MP-NL-NTR-NTB-BAA-RFD342052 | Autoconnect Large (ACL), 199W, 120-277V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-13 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ACL-P128-XVOLT480-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB-RFD342055* | Autoconnect Large (ACL), 199W, 480V, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-14 | SS | LED Conventional Roadway Luminaire - 400W Class | Acuity | American Electric Lighting (AEL) | ACL-P128-XVOLT480-ZT-R4-4B-3K-GY-MP-NL-NTR-NTB-BAA-RFD342054* | Autoconnect Large (ACL), 199W, 480V, BAA Compliant, *Contact HwyLighting@wsdot.wa.gov for special color codes
9.29.10.1.B.D-15 | SS | LED Conventional Roadway Luminaire - 400W Class | SolarMAX |  | SMX-190WiE-NV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5, 190W, 120-277V
9.29.10.1.B.D-16 | SS | LED Conventional Roadway Luminaire - 400W Class | SolarMAX |  | SMX-190WiE-HV-LL5-NR-3070-T302-AP-10-CUL(WS) | SMX-LL5, 190W, 480V
9.29.10.1.B.D-17 | SS | LED Conventional Roadway Luminaire - 400W Class | Cree |  | TRVXL-A-HT-3ME-30L-30K7-UL-GY-4BLT-W10 | Traveyo Extra Large (XSPXL), 219W, 120-277V
9.29.10.1.B.D-18 | SS | LED Conventional Roadway Luminaire - 400W Class | Cree |  | TRVXL-A-HT-3ME-30L-30K7-UH-GY-4BLT-W10 | Traveyo Extra Large (XSPXL), 219W, 480V
9.29.10.1.B.D-19 | SS | LED Conventional Roadway Luminaire - 400W Class | Cooper | Streetworks | ARCH-L-PA3-220-730-U-T3-AP-10K-U103215 | Archeon Large (ARCH-L), 222W, 120-277V
9.29.10.1.B.D-20 | SS | LED Conventional Roadway Luminaire - 400W Class | Cooper | Streetworks | ARCH-L-PA3-220-730-8-T3-AP-10K-U103216 | Archeon Large (ARCH-L), 222W, 480V
9.29.10.1.B.D-21 | SS | LED Conventional Roadway Luminaire - 400W Class | Signify | Lumec | RFL-225W100LED3K-G2-R3M-UNIV-NRC-GY3 | RoadFocus Large (RFL), 224W, 120-277V
9.29.10.1.B.D-22 | SS | LED Conventional Roadway Luminaire - 400W Class | Signify | Lumec | RFL-225W100LED3K-G2-R3M-HVU-NRC-GY3 | RoadFocus Large (RFL), 224W, 480V
9.29.10.1.B.D-23 | SS | LED Conventional Roadway Luminaire - 400W Class | Cooper | Streetworks | NVN-SA4C-730-U-T3-AP-10K-U125870 | Navion (NVN), 225W, 120-277V
9.29.10.1.B.D-24 | SS | LED Conventional Roadway Luminaire - 400W Class | Cooper | Streetworks | NVN-SA4C-730-8-T3-AP-10K-U125874 | Navion (NVN), 225W, 120-480V
9.29.10.1.B.D-25 | SS | LED Conventional Roadway Luminaire - 400W Class | Leotek | Green Cobra | GC2-96G-MV-WW-3R-GY-800-LPCR-DSC-WL40E | GC2, 242W, 120-277V
9.29.10.1.B.D-26 | SS | LED Conventional Roadway Luminaire - 400W Class | Leotek | Green Cobra | GC2-96G-HV-WW-3R-GY-800-LPCR-DSC-WL40E | GC2, 242W, 480V
9.29.12.1.0.0-0 | SS | Power Conductor Mechanical Splice |  |  |  | Section Header
9.29.12.1.0.0-1 | SS | Power Conductor Mechanical Splice | Thomas & Betts | Blackburn | 547## | C-Tap Connector for Copper Conductor | ## - Varies with conductor sizes
9.29.12.1.0.0-2 | SS | Power Conductor Mechanical Splice | Burndy | CRIMPIT | YC##C## | Copper CRIMPIT™ Connector, Type YC-C for Copper | ## - Varies with conductor sizes
9.29.12.1.0.0-3 | SS | Power Conductor Mechanical Splice | Burndy | YC-L | YC##L## | Type YC-L Thin Wall Copper C-Tap | ## - Varies with conductor sizes
9.29.12.1.0.0-4 | SS | Power Conductor Mechanical Splice | Ilsco | ULT | ULT-## | ULT Series - Copper C Crimps | ## - Varies with conductor sizes
9.29.12.1.0.0-5 | SS | Power Conductor Set Screw Splice | Polaris | Edge | ISPB###-# | EDGE Direct Burial Connectors | ###-# - Varies with conductor sizes
9.29.12.2.0.0-0 | SS | Non-Insulated Barrel Splice |  |  |  | Section Header
9.29.12.2.0.0-1 | SS | Non-Insulated Barrel Splice | Thomas & Betts | Sta-Kon | 2B-14 | Non-insulated Butt Splice | Wire sizes #16 - #14
9.29.12.2.0.0-2 | SS | Non-Insulated Barrel Splice | Thomas & Betts | Sta-Kon | 2C-10 | Non-insulated Butt Splice | Wire sizes #12 - #10
9.29.12.2.0.0-3 | SS | Non-Insulated Barrel Splice | 3M | Scotchlock | M14BCX | Scotchlok™ Seamless Butt Connector | Wire sizes #16 - #14
9.29.12.2.0.0-4 | SS | Non-Insulated Barrel Splice | 3M | Scotchlock | M10BCX | Scotchlok™ Seamless Butt Connector | Wire sizes #12 - #10
9.29.12.2.0.0-5 | SS | Non-Insulated Barrel Splice | Panduit | SCS | SCS###-# | Type SCS Code Conductor, Standard Barrel, Butt Splice | ###-# - Varies with conductor size
9.29.12.2.0.0-6 | SS | Non-Insulated Barrel Splice | Thomas & Betts | Blackburn | 545## | Two-Way Splice Connectors - Standard Barrel | ## - Varies with conductor size
9.29.12.2.0.0-7 | SS | Non-Insulated Barrel Splice | Thomas & Betts | Blackburn | 548## | Two-Way Splice Connectors - Long Barrel | ## - Varies with conductor size
9.29.12.2.0.0-8 | SS | Non-Insulated Barrel Splice | Burndy | YS-L | YS##L | Two-Way Splice Connectors - Standard Barrel | ## - Varies with conductor size
9.29.12.3.A.A-0 | SS | Heat Shrink Tubing |  |  |  | Section Header
9.29.12.3.A.A-1 | SS | Heat Shrink Tubing | DSG-Canusa | FCFW | FCFW #### | Heavy Wall Cross-Linked Polyolefin Tubing | #### - Denotes single conductor wire size range order number
9.29.12.3.A.A-2 | SS | Heat Shrink Tubing | 3M | HDT | HDT-####-48A | Heat Shrink Tubing, Heavy-Duty, Polyolefin | #### - Denotes single conductor wire size range order number
9.29.12.3.A.A-3 | SS | Heat Shrink Tubing | 3M | ITCSN | ITCSN-#### | Heavy Wall Heat Shrink Tubing | #### - Denotes single conductor wire size range order number
9.29.12.3.A.A-4 | SS | Heat Shrink Tubing | Thomas & Betts | Shrink-Kon | HSHR####-4 | HSHR Heavy-Wall Heat-Shrinkable Tubing - High Shrink Ratio | #### - Denotes single conductor wire size range order number
9.29.12.3.A.A-5 | SS | Heat Shrink Tubing | Thomas & Betts | Shrink-Kon | HSFR###-####-4 | HSFR Flame-Retardant Heavy Wall Heat-Shrinkable Tubing | ###-#### - Varies with conductor size range
9.29.12.3.A.A-6 | SS | Heat Shrink Tubing | Thomas & Betts | Shrink-Kon | HS###-### | HS Heavy-Wall Heat-Shrinkable Tubing | ###-#### - Varies with conductor size range and length
9.29.12.3.A.A-7 | SS | Heat Shrink Tubing | Panduit | HST | HST#.#-# | Thick Wall Polyolefin Heat Shrink Tubing | #.#-# - Varies with tubing size
9.29.12.3.A.B-0 | SS | Mastic Tape |  |  |  | Section Header
9.29.12.3.A.B-1 | SS | Mastic Tape | 3M | Scotch-Seal | Any Compound 2229 | Scotch-Seal™ Mastic Tape Compound 2229
9.29.12.3.B.0-0 | SS | Molded Splice Enclosure |  |  |  | Section Header
9.29.12.3.B.0-1 | SS | Molded Splice Enclosure | 3M | Scotchcast | 82-A# | Scotchcast™ Inline Resin Power Cable Splice Kits 82-A Series | # - Varies with conductor sizes
9.29.12.3.B.0-2 | SS | Molded Splice Enclosure | 3M | Scotchcast | 82-B1 | Scotchcast™ Wye Resin Splice Kit 82-B1 | Max #4 AWG wire with split bolt; Max #2AWG with crimped connector
9.29.13.10.D.A-0 | SS | Flasher (Model 204) |  |  |  | Section Header
9.29.13.10.D.A-1 | SS | Flasher (Model 204) | PDC |  | SSF-88 |  | SSF-87 is NEMA / NY Model 204
9.29.13.10.D.A-2 | SS | Flasher (Model 204) | Reno A&E |  | Model FL-200
9.29.13.10.D.B-0 | SS | Flash Transfer Relay |  |  |  | Section Header
9.29.13.10.D.B-1 | SS | Flash Transfer Relay | Reno A&E |  | Model TR-200
9.29.13.10.D.B-2 | SS | Flash Transfer Relay | Deltrol Controls |  | 21084-83 | 295 Power Relay
9.29.13.10.D.B-3 | SS | Flash Transfer Relay | Struthers-Dunn |  | 21XBXP-120VAC |  | Also add "L" after P to include "light pipe" option (allowed but not required)
9.29.13.10.D.B-4 | SS | Flash Transfer Relay | Struthers-Dunn |  | 21ACPX-2/21XBXP-120VAC |  | Also referenced as W21ACPXD-5; McCain part M11556
9.29.13.10.D.C-0 | SS | Load Switch |  |  |  | Section Header
9.29.13.10.D.C-1 | SS | Load Switch | tsc |  | Model 300-OI
9.29.13.10.D.C-2 | SS | Load Switch | Reno A&E |  | Model LS-200
9.29.13.10.D.C-3 | SS | Load Switch | PDC |  | Model SSS-87 I/O
9.29.16.2.A.0-0 | SS | Vehicle Signal - Display |  |  |  | Section Header
9.29.16.2.A.0-1 | SS | Vehicle Signal - Display | Dialight |  | 433-1210-003XL15 | 12" Red LED Uniform Appearance, 15 yr
9.29.16.2.A.0-2 | SS | Vehicle Signal - Display | Dialight |  | 433-3230-901XL15 | 12" Yellow LED Uniform Appearance, 15 yr
9.29.16.2.A.0-3 | SS | Vehicle Signal - Display | Dialight |  | 433-2220-001XL15 | 12" Green LED Uniform Appearance, 15 yr
9.29.16.2.A.0-4 | SS | Vehicle Signal - Display | Dialight |  | 432-1314-001XOD15 | 12" Red Arrow LED Uniform Appearance, 15 yr
9.29.16.2.A.0-5 | SS | Vehicle Signal - Display | Dialight |  | 432-3334-901XOD15 | 12" Yellow Arrow LED Uniform Appearance, 15 yr
9.29.16.2.A.0-6 | SS | Vehicle Signal - Display | Dialight |  | 432-2324-001XOD15 | 12" Green Arrow LED Uniform Appearance, 15 yr
9.29.16.2.A.0-7 | SS | Vehicle Signal - Display | Dialight |  | 433-1210-003XL | 12" Red LED Uniform Appearance
9.29.16.2.A.0-8 | SS | Vehicle Signal - Display | Dialight |  | 433-3230-901XL | 12" Yellow LED Uniform Appearance
9.29.16.2.A.0-9 | SS | Vehicle Signal - Display | Dialight |  | 433-2220-001XL | 12" Green LED Uniform Appearance
9.29.16.2.A.0-10 | SS | Vehicle Signal - Display | Dialight |  | 432-1314-001XOD | 12" Red Arrow LED Uniform Appearance
9.29.16.2.A.0-11 | SS | Vehicle Signal - Display | Dialight |  | 432-3334-901XOD | 12" Yellow Arrow LED Uniform Appearance
9.29.16.2.A.0-12 | SS | Vehicle Signal - Display | Dialight |  | 432-2324-001XOD | 12" Green Arrow LED Uniform Appearance
9.29.16.2.B.A-0 | SS | Vehicle Signal - Housing |  |  |  | Section Header
9.29.16.2.B.A-1 | SS | Vehicle Signal - Housing | Eagle (Mobotrex) |  | SG101A2C10GG030-00 | 12" 1-section signal display without visors, green
9.29.16.2.B.A-2 | SS | Vehicle Signal - Housing | Eagle (Mobotrex) |  | SG103A2C10GG030-00 | 12" 3-section signal display without visors, green
9.29.16.2.B.A-3 | SS | Vehicle Signal - Housing | Eagle (Mobotrex) |  | SG104A2C10GG040-18 | 12" 3-section signal display without visors, green
9.29.16.2.B.A-4 | SS | Vehicle Signal - Housing | Eagle (Mobotrex) |  | SG110A2C10GG010-00 | 8" 1-section signal display without visor, green (A85228311-GREEN)
9.29.16.2.B.A-5 | SS | Vehicle Signal - Housing | Eagle (Mobotrex) |  | SG103A2C10GG030-00 | 12" 3-section signal display with visors, green
9.29.16.2.B.A-6 | SS | Vehicle Signal - Housing | Eagle (Mobotrex) |  | SG103A2C11GGG30-00 | 12" 3-section signal display with visors, green
9.29.16.2.B.A-7 | SS | Vehicle Signal - Housing | Eagle (Mobotrex) |  | SG110A2C11GGG10-00 | 8" 1-section signal display with visor, green
9.29.16.2.B.A-8 | SS | Vehicle Signal - Housing | General Traffic Equipment Corp |  | T-30-ALUM-N-NNN-N-G-G-N | 12" 3-section signal display without visors, green
9.29.16.2.B.A-9 | SS | Vehicle Signal - Housing | General Traffic Equipment Corp |  | E-30-ALUM-Y-EMPTY-T-G-G-G | 8" 3-section signal display with backplate and tunnel visors, green
9.29.16.2.B.A-10 | SS | Vehicle Signal - Housing | General Traffic Equipment Corp |  | E-11-ALUM-Y-EMPTY-C-G-G-G | 8" 1-section signal display with backplate and cap visor, green
9.29.16.2.B.A-11 | SS | Vehicle Signal - Housing | General Traffic Equipment Corp |  | E-10-ALUM-N-EMPTY-T-G-G-G | 8" 1-section signal display with tunnel visor, green
9.29.16.2.B.A-12 | SS | Vehicle Signal - Housing | McCain Inc. |  |  | 12" aluminum housings
9.29.16.2.B.A-13 | SS | Vehicle Signal - Housing | McCain Inc. |  |  | 16" aluminum ped display housings
9.29.16.2.B.B-1 | SS | Vehicle Signal - Display Visor | General Traffic? |  | TV-12-AG | 12" tunnel visor, green
9.29.16.2.B.B-2 | SS | Vehicle Signal - Display Visor | Eagle (Mobotrex) |  | A85228111 | 8" tunnel visor, green
9.29.16.2.B.B-3 | SS | Vehicle Signal - Display Visor | Eagle (Mobotrex) |  | A85229111 | 8" tunnel visor, green
9.29.16.2.B.B-4 | SS | Vehicle Signal - Display Visor | Eagle (Mobotrex) |  | A85230711 | 12" tunnel visor, green
9.29.16.2.B.B-5 | SS | Vehicle Signal - Display Visor | Eagle (Mobotrex) |  | FFD1800-11 | 12-18" angle visor, green
9.29.16.2.B.B-6 | SS | Vehicle Signal - Display Visor | McCain Inc. |  |  | 12" aluminum tunnel visors
9.29.16.2.B.C-1 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1E03-VSL5-BB000 (7083333020) | 12" 3-section flat back aluminum backplate with louvers, for non-plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-2 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1E03-VEL5-BB000 (7083331020) | 12" 3-section flat back aluminum backplate with louvers, for plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-3 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1E03-VEL5-BB124 (7083331005) | 12" 3-section flat back aluminum (anodized) backplate with louvers and reflective tape, for plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-4 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1E03-VEL5-BB224 (7083331025) | 12" 3-section flat back aluminum backplate with louvers and reflective tape, for plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-5 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1E03-VSL5-BB224 (7083333025) | 12" 3-section flat back aluminum backplate with louvers and reflective tape, for non-plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-6 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1E04-VEL5-BB224 (7084440125) | 12" 4-section flat back aluminum backplate with louvers and reflective tape, for plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-7 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1E04-VEL5-BB124 (7084440105) | 12" 4-section flat back aluminum (anodized) backplate with louvers and reflective tape, for plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-8 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1E04-VSL5-BB124 (7084440305) | 12" 4-section flat back aluminum (anodized) backplate with louvers and reflective tape, for non-plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-9 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-3E05-DEL5-BB224 (7085560115) | 12" 5-section cluster flat back aluminum backplate with louvers and reflective tape, for plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-10 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1GE10-VSL5-BB000 (7081100680) | 8" 1-section flat black aluminum backplate with louvers | Listed as Order Code (Part Number)
9.29.16.2.B.C-11 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1GE30-VSL5-BB000 (7083320000) | 8" 3-section flat black aluminum backplate with louvers, for non-plumbizers | Listed as Order Code (Part Number)
9.29.16.2.B.C-12 | SS | Vehicle Signal - Backplate | Western Systems |  | WSB-1E01-VSL5-BB000 (7081110035) | 12" 1-section flat black aluminum backplate with louvers | Listed as Order Code (Part Number)
9.29.16.2.C.0-0 | SS | Vehicle Signal - Display Louver |  |  |  | Section Header
9.29.16.2.C.0-1 | SS | Vehicle Signal - Display Louver | Siemens ITS |  | A852233 | 8" display, 7-blade view limiting louver insert (straight)
9.29.16.2.C.0-2 | SS | Vehicle Signal - Display Louver | Pelco Products, Inc. |  | GL-1010-###-UC-P30 | Pelco geometrically programmed louver w/ 12" visor, green; ### = view angle
9.29.17.0.0.0-0 | SS | Signal Display Mount |  |  |  | Section Header
9.29.17.0.0.0-1 | SS | Signal Display Mount | Pelco Products, Inc. | Astro-Brac | AS-0116-3-56-SS-PNC | Type N mount, 12" 3-section display, straps
9.29.17.0.0.0-2 | SS | Signal Display Mount | Pelco Products, Inc. | Astro-Brac | AS-0125-3-62-SS-PNC | Type N mount, 12" 3-section display, cables
9.29.17.0.0.0-3 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8000-P30 GREEN | Type L mount, no extension, green
9.29.17.0.0.0-4 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8004-P30 GREEN | Type M (angled plumbizer) mount, green
9.29.17.0.0.0-5 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8005-P30 | Type M (angled plumbizer) mount for Cluster (Doghouse) displays, green
9.29.17.0.0.0-6 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8037-P30 | Type D mount with cap, green
9.29.17.0.0.0-7 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8017-xx-P30 | Type B mount (single ped side mount), green
9.29.17.0.0.0-8 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8014-3-xx-P30 | Type K mount - 3-section display, green
9.29.17.0.0.0-9 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8014-4-xx-P30 | Type K mount - 4-section display, green
9.29.17.0.0.0-10 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8026-P30 | Type C Mount (double ped top of pole), green
9.29.17.0.0.0-11 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8030-1-P30 GREEN | Type F Mount (double veh top of pole), green
9.29.17.0.0.0-12 | SS | Signal Display Mount | Pelco Products, Inc. |  | SP-8029-P30 | Type A mount (double side of pole), green
9.29.17.0.0.0-13 | SS | Signal Display Mount | Western Systems |  | 7021030002 | Type K mount, 3-section 8" display, left side, green
9.29.17.0.0.0-14 | SS | Signal Display Mount | Western Systems |  | 7021030046 | Type K mount, 3-section 8" display, right side, green
9.29.17.0.0.0-15 | SS | Signal Display Mount | Western Systems |  | 7021010004 | Type K mount, 1-section 8" display, left side, green
9.29.17.0.0.0-16 | SS | Signal Display Mount | Western Systems |  | 7053001120 | APS PPB Tube Extension Assembly (green) - 12"
9.29.17.0.0.0-17 | SS | Signal Display Mount | Western Systems |  | 7022060025 | Type D mount with cap, green
9.29.17.0.0.0-18 | SS | Signal Display Mount | Western Systems |  | 7051160025 | Type A mount (double side of pole mount)
9.29.17.0.0.0-19 | SS | Signal Display Mount | Western Systems |  | 7051050020 | Type B mount (single ped side mount), green
9.29.17.0.0.0-20 | SS | Signal Display Mount | Western Systems |  | 7022110007 | Type D mount with cap, green, 1-section 8" display
9.29.17.0.0.0-21 | SS | Signal Display Mount | Western Systems |  | 7053001060 | APS PPB Tube Extension Assembly (green) - 6"
9.29.17.0.0.0-22 | SS | Signal Display Mount | Western Systems |  | 7022110009 | Type F Mount (double veh top of pole), green, 1-section displays
9.29.17.0.0.0-23 | SS | Signal Display Mount | McCain Inc. |  | M18282 | Type M (angled plumbizer) mount - Black | For use only when black specified in the Contract
9.29.17.0.0.0-24 | SS | Signal Display Mount | McCain Inc. |  | M18284 | Type M (angled plumbizer) mount - Signal Green
9.29.17.0.0.0-25 | SS | Signal Display Mount | McCain Inc. |  | M18384 | Type B or K mount (single side of pole mount, left)
9.29.17.0.0.0-26 | SS | Signal Display Mount | McCain Inc. |  | M18409 | Type H mount (double side of pole mount)
9.29.17.0.0.0-27 | SS | Signal Display Mount | McCain Inc. |  | M18558 | Type A or H mount (double side of pole mount)
9.29.17.0.0.0-28 | SS | Signal Display Mount | McCain Inc. |  | M33300 | Type D Mount (black) | For use only when black specified in the Contract
9.29.17.0.0.0-29 | SS | Signal Display Mount | McCain Inc. |  | M18511 | Type D Mount (green)
9.29.19.0.0.A-0 | SS | Pedestrian Pushbutton - APS |  |  |  | Section Header
9.29.19.0.0.A-1 | SS | Pedestrian Pushbutton - APS | Campbell | Guardian | 501-0300 SPI | Signal Power Interface for pedestrian display connections
9.29.19.0.0.A-2 | SS | Pedestrian Pushbutton - APS | Campbell | Guardian | KAC-32021-2BT | Guardian APS PPB, 9" x 15" R10-3e sign, no braille, custom messages, federal green color
9.29.19.0.0.A-3 | SS | Pedestrian Pushbutton - APS | Pelco | Intellicross | SE-2174-P30 | IntelliCross APS PPB 9" x 15" sign bracket, automatic green color
9.29.19.0.0.A-4 | SS | Pedestrian Pushbutton - APS | Pelco | Intellicross | SE-2901-#-P30 9x15 | IntelliCross APS PPB, 9" x 15" R10-3e sign, no braille, custom messages, automatic green color | # is number of APS PPBs included in order
9.29.19.0.0.A-5 | SS | Pedestrian Pushbutton - APS | Pelco | Intellicross | SE-6190-PNC | IntelliCross APS PPB pedestrian display interface unit
9.29.19.0.0.A-6 | SS | Pedestrian Pushbutton - APS | Pelco | Intellicross | CP-2069-144-M1 | IntelliCross 4/18 12' interface cable
9.29.19.0.0.A-7 | SS | Pedestrian Pushbutton - APS | Polara | iNavigator | iN-CABLE-25 | 25 foot interface cable
9.29.19.0.0.A-8 | SS | Pedestrian Pushbutton - APS | Polara | iNavigator | iN-CABLE-50 | 50 foot interface cable
9.29.19.0.0.A-9 | SS | Pedestrian Pushbutton - APS | Polara | iNavigator | iN-DGL | Bluetooth Dongle for iNavigator system
9.29.19.0.0.A-10 | SS | Pedestrian Pushbutton - APS | Polara | iNavigator | iNS23TN1-G | iNS2 APS PPB, 9" x 15" R10-3e sign, no braille, custom messages, signal green cover
9.29.19.0.0.A-11 | SS | Pedestrian Pushbutton - APS | Polara | iNavigator | iPHCU3S | Ped Head Control Unit for iNavigator 3-Wire
9.29.20.0.0.0-0 | SS | Pedestrian Signal |  |  |  | Section Header
9.29.20.0.0.A-1 | SS | Pedestrian Signal - Housing | Eagle (Mobotrex) |  | SG7MZ20C1GFF10-00 | 16" aluminum ped display housing with Z (egg) crate visor, top or bottom mount, green
9.29.20.0.0.A-2 | SS | Pedestrian Signal - Housing | Eagle (Mobotrex) |  | SG7MZ21C1FFF10-49 | 16" aluminum ped display housing with Z (egg) crate visor, right clamshell mount, green
9.29.20.0.0.A-3 | SS | Pedestrian Signal - Housing | Eagle (Mobotrex) |  | SG7MZ22C1FFF10-49 | 16" aluminum ped display housing with Z (egg) crate visor, left clamshell mount, green
9.29.20.0.0.A-4 | SS | Pedestrian Signal - Housing | General Traffic Equipment Corp |  | P7-EMPTY-GV-PP-PO-GR | 16" x 18" aluminum ped display housing with Z crate visor, top or bottom mount, green
9.29.20.0.0.A-5 | SS | Pedestrian Signal - Housing | General Traffic Equipment Corp |  | P7-EMPTY-GV-PP-SAM?-GR | 16" x 18" aluminum ped display housing with Z crate visor, clamshell mount, green | ? = L or R
9.29.20.0.0.B-1 | SS | Pedestrian Signal - Display | Dialight |  | 430-6479-001X | 16" x 18" LED countdown pedestrian display
9.29.20.0.0.B-2 | SS | Pedestrian Signal - Display | Current | GTX City | PS7-CFF1-VLA | 16" x 18" LED countdown pedestrian display
9.29.24.0.0.A-0 | SS | Surge Protection Device (SPD) |  |  |  | Section Header
9.29.24.0.0.A-1 | SS | Surge Protection Device (SPD) | Citel | Type 1 SPD | DS72US-240T/NN | 240/480V SPD
9.29.24.0.0.A-2 | SS | Surge Protection Device (SPD) | Citel | Type 1 SPD | DS72US-120T/NN | 120/240V SPD
9.29.24.2.0.A-0 | SS | Circuit Breaker - Bolt-On Miniature |  |  |  | Section Header
9.29.24.2.0.A-1 | SS | Circuit Breaker - Bolt-On Miniature | Eaton | Type BAB |  | 10,000A Interrupting Capacity Termal-Magnetic Breakers
9.29.24.2.0.B-0 | SS | Circuit Breaker - Molded Case |  |  |  | Section Header
9.29.24.2.0.B-1 | SS | Circuit Breaker - Molded Case | Eaton | Type EHD | EHD2### | Series C complete molded case circuit breaker, F-frame, EHD, Complete breaker, Fixed thermal, Fixed magnetic trip type, Two-pole, ### A, Load side, 50/60 Hz
9.29.24.2.0.B-2 | SS | Circuit Breaker - Molded Case | Eaton | Type GHB | GHB2### | Series C complete molded case circuit breaker, G-frame, GHB, Complete breaker, Fixed thermal, Fixed magnetic trip type, Two-pole, ### A, 480Y/277 Vac, 125/250 Vdc, 50/60 Hz | Service and Transformer Cabinet Main Breakers only
9.29.24.2.0.C-0 | SS | Contactor - Lighting |  |  |  | Section Header
9.29.24.2.0.C-1 | SS | Contactor - Lighting | Eaton |  | A202K1BAM | 30A Contactor, 2-Pole, 120V/60Hz AC Control Coil
9.29.24.2.0.C-2 | SS | Contactor - Lighting | Eaton |  | A202K2BAM | 60A Contactor, 2-Pole, 120V/60Hz AC Control Coil
9.29.24.2.0.C-3 | SS | Contactor - Lighting | Eaton |  | A202K3BAM | 100A Contactor, 2-Pole, 120V/60Hz AC Control Coil
9.29.24.2.0.C-4 | SS | Contactor - Lighting | Square D |  | 8910DPA32V02U1 | 30A Contactor, 2-Pole, 120V/60Hz AC Control Coil